## Alarm Summary
Tag No | P & ID | Service Description | Range | EU | Normal Operating Conditions | HH | H | L | LL | Engineering Notes
B3:0/0 |  | Fire Alarm Zone 1
B3:0/11 |  | Fire Alarm Zone 2
B3:3/8 |  | FE 1 Failure Alarm
B3:3/9 |  | FE 2 Failure Alarm
B3:3/10 |  | FE 3 Failure Alarm
B3:3/11 |  | FE 4 Failure Alarm
B3:3/12 |  | FE 5 Failure Alarm
B3:3/13 |  | FE 6 Failure Alarm
B3:3/14 |  | FE 7 Failure Alarm
B3:3/15 |  | FE 8 Failure Alarm
B3:4/6 |  | 2 Detectors In Alarm Zone 1
B3:4/5 |  | 2 Detectors In Alarm Zone 2
B3:10/0 |  | ESD Alarm to Office PLC