## Alarm Summary
[10 empty] | Document No: | XXXX
[6 empty] | Revision | Date | Description |  | By | Checked | Approved
[6 empty] | C | 2014-11-06 | Issued for Design |  | JMc | SC | CRB
[6 empty] | 0 | 2015-01-05 | Issued for Construction |  | JMc | DW | CRB
[6 empty] | 1 | 2015-05-28 | Revised |  | JMc | SC | CRB
[6 empty] | 2 | 2015-11-30 | Revised - BTP |  | CH | WE
[6 empty] | 3 | 2017-10-18 | Alarm Rat- BTP-17-MOC124 |  | DJB | CH | WE
[6 empty] | 6 | 2019-03-02 | BTP-19-MOC015 |  | DJB | DJB | WE
[6 empty] | 7 | 2020-02-13 | BTP-20-PCS003 |  | JA | VGS | VGS
[6 empty] | 8 | 2020-12-07 | BTP-20-PCS016 |  | RG | VGS | VGS
[6 empty] | 9 | 2022-02-02 | BTP-20-PCS003 |  | SB | VGS | VGS
[6 empty] | 0 | [Date] | [Rev Description]
PROCESS ALARM SUMMARY Fire System PLC 1
Tag No | P & ID | Service Description | Range | EU | Normal Operating Conditions | HH | H | L | LL | Engineering Notes
B3:0/0 |  | Fire Alarm Zone 1
B3:0/11 |  | Fire Alarm Zone 2
B3:3/8 |  | FE 1 Failure Alarm
B3:3/9 |  | FE 2 Failure Alarm
B3:3/10 |  | FE 3 Failure Alarm
B3:3/11 |  | FE 4 Failure Alarm
B3:3/12 |  | FE 5 Failure Alarm
B3:3/13 |  | FE 6 Failure Alarm
B3:3/14 |  | FE 7 Failure Alarm
B3:3/15 |  | FE 8 Failure Alarm
B3:4/6 |  | 2 Detectors In Alarm Zone 1
B3:4/5 |  | 2 Detectors In Alarm Zone 2
B3:10/0 |  | ESD Alarm to Office PLC